## Slide 1: Introduction to Signal Integrity
please scan QR code for attendance

## Slide 2: S-Parameters and VNA

## Slide 3: Module 1

## Slide 4: Circuit parameters

## Slide 5: Multi-Port S-Parameters

## Slide 6: Touchstone Format (Snp)
# GHz S MA R 50

## Slide 7: Differential Signalling

## Slide 8: Differential S-Parameters

## Slide 9: Differential S-Parameters
SDD21 = 0.5 [S12 + S34 –(S13+S32)]

## Slide 10: Module 2

## Slide 11: Cascading S -Parameters

## Slide 12
2 Cascaded 2 port networks and Link Budgets
D
F
1
2
1
2
a
b
T
=
Where – 1)
/

## Slide 13: Question
I have TWO 50 OHM CABLES
If I Connect THEM TOGETHER
Will the Impedance of The NEW CABLE be
50 OHMS?

## Slide 14: Answer
Yes

## Slide 15: Answer
NO

## Slide 16: Answer
It depends

## Slide 17: Rephrase Question
If you are given 2 s-parameter files of two different 50 OHM cables and asked to run a simulation and compute impedance-
Will the Impedance of The NEW CABLE be
50 OHMS?

## Slide 18: Answer from Simulations

## Slide 19: All answers are correct based on how one perceives the question

## Slide 20: Take away
Simplification of S-parameters of cascaded networks while being “EXACT” in a circuit sense, is ONLY a good approximation in the “Electromagnetic Sense”. There are situations where a “blind” application can lead to incorrect results.

## Slide 21: Module 3

## Slide 22: Measurements
When a measurement of any object
affects that object
It is impossible
To make a perfect Measurement!

## Slide 23: Calibration and De-Embedding

## Slide 24: 2X THRU

## Slide 25: Module 4 VNA DEMO

## Slide 26: Module 5

## Slide 27: Frequency Domain Metrics – IEEE 10G Base KR
27
IL- Insertion Loss, RL- Return Loss, ILD-Insertion Loss Deviation,
FEXT – Far end crosstalk, NEXT –Near end crosstalk,
ICR – Insertion loss to crosstalk ratio

## Slide 28: The Importance of Skew in Differential Signals

## Slide 29: The Importance of Skew in Differential Signals
=

## Slide 30: Two Uncoupled lines with skew

## Slide 31: Coupled line without skew
31
31
9 of 23

## Slide 32: Coupled line without skew
32
32
9 of 23

## Slide 33: Un Coupled line with skew
33

## Slide 34: Coupled line with skew
34

## Slide 35: Two Cascaded Coupled lines with skew
35
Increasing Far End Cross talk between P and N can help !

## Slide 36: References
36
Fundamentals of Vector Network Analysis primer | Rohde & Schwarz (rohde-schwarz.com)
2. Accurate Test Fixture Characterization and De-embedding Deembedding Test Fixtures
For High-Speed Digital Applications
3. Deembedding Test Fixtures For High-Speed Digital Applications
4. Home Page | Signal Integrity Journal
(Search for Skew)
5. https://ieeexplore.ieee.org/search/searchresult.jsp?newsearch=true&queryText=Intra-Pair%20Skew

## Slide 37: Module 6